## Community Information & Summary
Green Communities Grant Table - 2022
Applicant Information
Municipality Name: | Shutesbury
Contact Name: | Becky Torres
Contact Title: | Town Administrator
Contact E-mail: | townadmin@shutesbury.org
Contact Phone: | 413-259-1214
Date of Application : | 2022-10-07
Date of update (if an update to an existing application): | n/a
Energy Cost ($) per Unit (enter your community's energy costs)
Electricity (kWh) | 0.18
Natural Gas (therms)
Oil Savings (gallons) | 3.25
Gasoline (gallons)
Diesel (gallons)
Propane (gallons) | 3.5
Application Summary (cells will calculate basesd on data on next tab)
Green Communites Funding Requested | 178502.665
Projected Annual Cost Savings ($) | 13719.1689
Simple GC$ Payback Period | 13.0112
MMBtu saved (annually) | 417.6759
GC$/MMBtu, 2021 project average = 177 | 427.3712
GHG tons saved (annually) | 36.0493
GC$/GHG ton, 2021 project average = 2,258 | 4951.6203

## Grant Table
|  |  |  | Project Annual Energy Savings | [5 empty] | Project Cost Information | [5 empty] | Reference and Supporting Information | [5 empty] | Data Summary
Building Name and/or Location (as noted in MEI) | Traditional, Administrative, OR Prescriptive Project (select from dropdown list) | Project Name (description for Traditional Projects) [1] | Projected Completion (month/year) [2] | Electricity (kWh)[3] | Natural Gas (therms)[3] | Oil (gallons)[3] | Gasoline (gallons)[3] | Diesel (gallons)[3] | Propane (gallons)[3] | Total Project Cost ($) | GC Grant Funding ($) [4] | Utility Incentives ($) | Other Grants ($) (please list source in column N) | Community Contribution ($) | 25A, § 14 Procurement [6] | Funding Source(s) for Other Grants and Town Contribution | Source of Community Contribution (if applicable) | Audit or Study Reference | Audit or Study Page Reference(s) [5] | Other Supporting Document(s) and Page References [5] | Part of Performance Contract? (yes or no) | Projected Annual Energy Cost Savings ($) | MMBtu saved per Year | GC$/MMBtu | Simple GC Payback Period (years) | GHG emissions (tons CO2) saved per year | GC$/GHG (tons CO2)
Shutesbury Elementary School | Traditional Energy Project | Weatherization | 2023-06-21 | 1469.49 |  | 1362.64 |  |  |  | 47794.64 | 47427.2675 | 367.3725 | 0 |  |  |  |  | Shutesbury Building Inspection Report 10-3-22 | page 10; page 13 | Shutesbury Elementary School Weatherization Cut Sheets; Town of Shutesbury Weatherization Supporting Calculations | No | 4693.0882 | 194.4209 | 243.9412 | 10.1058 | 15.7762 | 3006.2498
Fire Station | Traditional Energy Project | Weatherization | 2023-06-22 | 119.87 |  |  |  |  | 374.67 | 11965.16 | 11965.16 | 0 | 0 |  |  |  |  | Shutesbury Building Inspection Report 10-3-22 | page 10; page 14 | Shutesbury Fire Station Weatherization Cut Sheets; Town of Shutesbury Weatherization Supporting Calculations | No | 1332.9216 | 34.504 | 346.7764 | 8.9766 | 2.4222 | 4939.6929
DPW | Traditional Energy Project | Weatherization | 2023-06-23 |  |  | 252.05 |  |  |  | 10849.24 | 10843.1325 | 6.1075 | 0 |  |  |  |  | Shutesbury Building Inspection Report 10-3-22 | page 10; page 15 | Shutesbury DPW Weatherization Cut Sheets; Town of Shutesbury Weatherization Supporting Calculations | No | 819.1625 | 35.035 | 309.4947 | 13.2369 | 2.8204 | 3844.4833
Library | Traditional Energy Project | Weatherization | 2023-06-24 | 24.43 |  | 35.29 |  |  |  | 1519.01 | 1451.525 | 67.485 | 0 |  |  |  |  | Shutesbury Building Inspection Report 10-3-22 | page 10; page 16 | Shutesbury Library Weatherization Cut Sheets; Town of Shutesbury Weatherization Supporting Calculations | No | 119.0899 | 4.9887 | 290.9646 | 12.1885 | 0.40368 | 3595.7524
Town Hall | Traditional Energy Project | Weatherization | 2023-06-25 | 269.94 |  | 249.35 |  |  | 56.22 | 13553.83 | 7567.58 | 5986.25 | 0 |  |  |  |  | Shutesbury Building Inspection Report 10-3-22 | page 10; page 17 | Shutesbury Town Hall Weatherization Cut Sheets; Town of Shutesbury Weatherization Supporting Calculations | No | 1055.7467 | 40.6967 | 185.9507 | 7.168 | 3.2443 | 2332.6009
Shutesbury Elementary School | Traditional Energy Project | Lighting | 2023-06-26 | 31662 | [5 empty] | 116960 | 99248 | 17712 | 0 |  | 1 |  |  | Shutesbury Elementary School Lighting Savings Summary Phase 1 | pages 1-7 | Shutesbury Elementary School Lighting Cut Sheets | No | 5699.16 | 108.0307 | 918.7014 | 17.4145 | 11.3825 | 8719.3583
[11 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
Green Community: Shutesbury |  |  |  | 33545.73 | 0 | 1899.33 | 0 | 0 | 430.89 | 202641.88 | 178502.665 | 24139.215 | 0 | 0 |  | N/A |  | N/A | N/A | N/A | N/A
Notes:
[1] A municipality may submit proposals for as many projects as it wishes as long as the projects comply with all requirements specified in the program opportunity notice. Contact your regional coordinator if you need additional rows in the spreadsheet.
[2] Proposed projects should be completed within approximately one year from contract execution.
[3] Please estimate only the projected direct annual cost and energy savings. Please be sure to complete the energy costs per unit table in the first worksheet. For fuels not listed in this table, please contact your regional coordinator. DOER will perform the calculations for MMBtu and GHGs.
[4] GC Grant funding ($) = Total Project Cost ($) less Utility Incentives, Other Grants, and Community Contribution
[5] Please provide a specific page number/range from the audit or study that provides funding request and project details.
[6] If a flag appears, the project in this row has a total project cost greater than $100,000 does not qualify for procurement under M.G.L. c.25A, § 14 using utility vendors. Please note that the community can still request grant funds for this project, however, the project would need to be competitively procured under M.G.L c149 or 30B, as applicable . For questions or more information on the M.G.L. c.25A, § 14 procurement process please contact your Green Communities Coordinator.

## Example Grant Table
|  |  |  | Project Annual Energy Savings | [5 empty] | Project Cost Information | [5 empty] | Reference and Supporting Information | [5 empty] | Data Summary
Building Name and/or Location (as noted in MEI) | Traditional, Administrative, OR Prescriptive Project (select from dropdown list) | Project Name (description for Traditional Projects) [1] | Projected Completion (month/year) [2] | Electricity (kWh)[3] | Natural Gas (therms)[3] | Oil (gallons)[3] | Gasoline (gallons)[3] | Diesel (gallons)[3] | Propane (gallons)[3] | Total Project Cost ($) | GC Grant Funding ($) [4] | Utility Incentives ($) | Other Grants ($) (please list source in column N) | Community Contribution ($) | 25A, § 14 Procurement [6] | Funding Source(s) for Other Grants and Town Contribution | Source of Community Contribution (if applicable) | Audit or Study Reference | Audit or Study Page Reference(s) [5] | Other Supporting Document(s) and Page References [5] | Part of Performance Contract? (yes or no) | Projected Annual Energy Cost Savings ($) | MMBtu saved per Year | GC$/MMBtu | Simple GC Payback Period (years) | GHG emissions (tons CO2) saved per year | GC$/GHG (tons CO2)
Town Offices | Traditional Energy Project | Air Source Heat Pump | 2022-12-02 | -19685 |  | 2185 |  |  |  | 81325 | 40725 | 40600 | 0 | 0 |  | n/a | Private Donation | Ames_Town_Audit.pdf | page 1 | Ames_Town_ERP.pdf | No | 3557.95 | 236.5498 | 172.1625 | 11.4462 | 17.3734 | 2344.1018
Town Offices | Traditional Energy Project | Weatherization | 2022-12-03 |  |  | 350 |  |  |  | 22750 | 11375 | 11375 | 0 | 0 |  | n/a | General Fund | Ames_Town_Audit.pdf | page 2 | Ames_Town_ERP.pdf | No | 1137.5 | 48.65 | 233.8129 | 10 | 3.9165 | 2904.3789
High School | Traditional Energy Project | LED Lighting | 2022-12-04 | 72973 | [5 empty] | 164216 | 93962 | 70254 | 0 | 0 | 1 | n/a | - | Ames_Town_Audit.pdf | page 3 | Ames_Town_ERP.pdf | No | 13135.14 | 248.9839 | 377.3819 | 7.1535 | 26.2338 | 3581.7161
Building Inspector | Prescriptive: Hybrid and Plug-in Hybrid Vehicles | Chevy Bolt | 2022-12-06 | -3417 |  |  | 756 |  |  | 33000 | 7500 | 0 | 0 | 25500 |  |  | General Fund | Chevy_Bolt.pdf | https://afdc.energy.gov/calc/ | - | No | 2030.94 | 82.0852 | 91.3685 | 3.6929 | 6.1551 | 1218.5092
[10 empty] | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
Green Community: Shutesbury |  |  |  | 49871 | 0 | 2535 | 756 | 0 | 0 | 301291 | 153562 | 122229 | 0 | 25500 |  | N/A |  | N/A | N/A | N/A | N/A
Notes:
[1] A municipality may submit proposals for as many projects as it wishes as long as the projects comply with all requirements specified in the program opportunity notice. Contact your regional coordinator if you need additional rows in the spreadsheet.
[2] Proposed projects should be completed within approximately one year from contract execution.
[3] Please estimate only the projected direct annual cost and energy savings. Please be sure to complete the energy costs per unit table in the first worksheet. For fuels not listed in this table, please contact your regional coordinator. DOER will perform the calculations for MMBtu and GHGs.
[4] GC Grant funding ($) = Total Project Cost ($) less Utility Incentives, Other Grants, and Community Contribution
[5] Please provide a specific page number/range from the audit or study that provides funding request and project details.
[6] If a flag appears, the project in this row has a total project cost greater than $100,000 does not qualify for procurement under M.G.L. c.25A, § 14 using utility vendors. Please note that the community can still request grant funds for this project, however, the project would need to be competitively procured under M.G.L c149 or 30B, as applicable . For questions or more information on the M.G.L. c.25A, § 14 procurement process please contact your Green Communities Coordinator.

## DOER Reference Data (hidden)
CO2 Emissions per Unit (tons)
Electricity (kWh) | 0.0003595
Natural Gas (therms) | 0.005855
Oil Savings (gallons) | 0.01119
Gasoline (gallons) | 0.0097665
Diesel (gallons) | 0.011192
Propane (gallons) | 0.00635
Source: Calculated from MEI: What factors are used for calculating CO2 emissions?
Conversion Factors (Various Units to MMBtus)
Electricity (kWh) | 0.003412
Natural Gas (therms) | 0.1
Oil Savings (gallons) | 0.139
Gasoline (gallons) | 0.124
Diesel (gallons) | 0.139
Propane (gallons) | 0.091
Source: MEI: What factors are used for converting fuel usage into MMBTUs?
Prescriptive Measures
Traditional Energy Project
Administrative Costs
Prescriptive: VFD - 10HP or Less Motor
Prescriptive: Walk-in Refrigerator Controls
Prescriptive: Weather-stripping
Prescriptive: Building Operator Certification (BOC)
Prescriptive: Hybrid and Plug-in Hybrid Vehicles
Prescriptive: Battery Electric Vehicles
Prescriptive: EV Charging Station
2021 Application Summary | Metrics
GC$ | 16153035
Project$ | 25478684
MMBTU (annually) | 91436
GHG (annually) | 7153
GC$/MMBTU (one year) | 176.6595
GC$/GHG (one year) | 2258.2182
Project$/MMBTU (one year) | 278.6505
Project$/GHG (one year) | 3561.9578